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September 2026 GROUNDWATER MONITORING 
Date: October 5, 2026
Prepared By: Katelyn Collemacine, Emergency Management Coordinator
Audience: Board of Supervisors
EXECUTIVE SUMMARY
The September observation well report shows a notable improvement in groundwater conditions at North Coventry's monitoring well following the historically low level recorded in August. Observation Well 6513 measured 17.24 feet below ground surface, an improvement of 1.13 feet from the August reading of 18.37 feet. The well is currently classified at Median conditions and is 0.43 feet higher than the groundwater level recorded in September 2025.  
This reverses the groundwater decline observed through the summer and is an encouraging sign heading into the fall recharge period. Countywide conditions have also improved overall, although several Chester County monitoring wells remain at Drought Watch, Warning, or Emergency levels.
KEY POINTS
· Observation Well 6513 depth: 17.24 feet below ground surface, compared with 18.37 feet in August.
· Groundwater rose 1.13 feet from August to September, reversing the decline observed during the summer.
· North Coventry's observation well is currently classified at Median conditions.
· The September groundwater level is 0.43 feet higher than September 2025, indicating conditions are also improved compared with the same time last year.
· Countywide, 14 monitoring wells were at or above their median level, while 6 wells were at or below Drought Watch level. Sept 2026 Obs Well Report
· Of the Chester County monitoring wells, 5 were below Drought Warning level and 4 were below Drought Emergency level, indicating that groundwater conditions continue to vary significantly across the county. Sept 2026 Obs Well Report
· The September measurements were taken on September 24 and 25, 2026. 
RECOMMENDED ACTIONS
Continue routine groundwater monitoring through the fall and winter recharge period. The 1.13-foot improvement from August to September is encouraging, particularly following the historically low August reading, and North Coventry's monitoring well has returned to Median conditions.
However, groundwater conditions remain mixed across Chester County, with several monitoring wells continuing to indicate Drought Watch, Warning, or Emergency conditions. Emergency Management will continue reviewing the monthly CCWRA observation well reports and will update the Board if local conditions begin to decline or other concerns develop.
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